## Bid comparison $
PROJECT MANAGEMENT BID WORKSHEET
Date:
Project:
Property:
Submitted By:
Month of Construction:
Company (vendor) | Scope/ Description of Work- Notes | Total Bid | Property One Fee Due 5% | Total
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
Recommendation:
Approved by: _______________________________

## Bid comparison specifications
| Request for Proposal | Gootee | CJ Christina | Chiller
| Disconnect and remove existing 4 Munters and Goodman Units | x | x | x
| Install 4 new Daiken Rebel Units | x | x | x
| Crane to remove existing units and set new units in designated location | x | x | x
| Crane co. to be responsible for street closures and power line deenergizing | x | x | x
| New curbs to be installed for each unit | x | x | x
| Set new Daiken units in place | x | x | x
| Crane to make up to 3 different trips to install and remove the units | x | x | x
| Reconnect existing duct work to new units | x | x | x
| Factory start up and test operation | x | x | x
| No heat, ambient shutdown sensor for outdoor air temperature | x | x | x
Additional:
| Number of crane trips, street closures and permitting | 2 | 4 | 3
| Roof protection - plywood / masonite walkways | x | x | x
| Electrical - new wiring from existing electrical disconnects | x | x | x
| Temperature controls - new stats to be included | x | x | x
| All work during normal working hours - project completion - 2 weeks | x | x | x
| All trash removal to be included | x | x | x
| All taxes included | x | x | x
| Warranty - 5 year parts - 1 year labor | x | x | x